## Slide 1: MINI PROJECT [AED334] AUTOMATED SELF ISOLATING WATER LEVEL CONTROLLER GROUP NO:-03 ANJALI H NAIR(CHN19AE008) MOHAMMED SHAHEER V K(CHN19AE015) ANAGHA P(LCHN19AE021) ARATHY C S(LCHN19AE022)
GUIDE NAME :- Ms.KARTHIKA KRISHNA
DEPT OF ELECTRONICS AND INSTUMENTATION

## Slide 2: OBJECTIVES
To create the most cost-effective and reliable water level controller using as less resource as possible.
To develop a mechanism to automatically shut down the pump when the water tank is filled completely and to turn on the pump when water level is too low.
To compare the controller with the conventional controllers in market and find the advantages

## Slide 3: LITERATURE SURVEY
SL NO | REFERENCE | STUDIES / FINDINGS
1 | Design and Development of Automatic Water Flow Meter(International Journal of Computer Science, Engineering and Applications (IJCSEA) Vol.3, No.3, June 2013) | This research paper by Ria Sood, Manjit Kaur, Hemant Lenka emphases on the need of water level controller in irrigation in agriculture.

## Slide 4: LITERATURE REVIEW
SL NO | REFERENCE | STUDIES/FINDINGS
2 | Automatic Water Level Controller with Short Messaging Service (SMS) Notification (International Journal of Scientific and Research Publications, Volume 4, Issue 9, September 2014) | This research paper by Sanam Pudasaini, Anuj Pathak, Sukirti Dhakal, Milan Paudel presents a system of an automatic water level controller with SMS notification. SMS notification was added to automatic controller system so that water can be managed by user during load shedding

## Slide 5: LITERATURE REVIEW
SL NO | REFERENCE | STUDIES/FINDINGS
3 | Automatic Water Level Control System (International Journal of Science and Research (IJSR) | This research paper by Asaad Ahmed Mohammed, Ahmed Eltaieb , Zhang Jian Min involves designing and development of automatic water level control system had exposed to the better way of software and hardware architecture that blends together for the interfacing purposes. The system employs the use of advance sensing technology to detect the water level. It uses Arduino and uses relay to control motor.

## Slide 6: FEATURES
Easy installation
Low maintenance
Compact and elegant design
Fully automatic
Saves water, motor and energy
Increases pump life.
Avoids seepage of water from roofs & walls due to overflowing tanks.

## Slide 7: BLOCK DIAGRAM
POWER SUPPLY
SENSING ELEMENT
IC 555
TRANSISTOR BC 547
RELAY
AC PUMP
WATER TANK

## Slide 8: DESCRIPTION
POWER SUPPLY
230v AC is given to the input of step-down transformer
This is converted to 12 V and is supplied to the circuit

## Slide 9: DESCRIPTION
SENSING ELEMENT
These are metallic contacts which conduct electricity when the space between them is bridged by water
For our project, one contact at the bottom part and one contact at the upper part of the tank form the indicator for low level and overflow of water respectively.

## Slide 10: DESCRIPTION
IC 555 IN MONOSTABLE MODE
The timer will be in its stable state (Output LOW) until it is triggered.
When the capacitor voltage is lesser than 2/3 Vcc, the output becomes HIGH. When the capacitor voltage will become greater than 2/3 Vcc, the output becomes LOW.
Turns on/off relay based on water level

## Slide 11: DESCRIPTON
TRANSISTOR
When the water touches the metal contact in which base of each transistor is connected, a small current flows and turns on the transistor.
When a transistor turns on, LED connected to it glows. Thus LEDs will be turned on depending up on the level of water.
RELAY
Acts as a switch which turns on or off the pump by cutting off the power supply to water pump

## Slide 12: DESCRIPTION
AC PUMP
Pumps water into the tank
Transforms electrical to mechanical energy

## Slide 13: POWER SUPPLY DIAGRAM
Tx=Primary 230 V , Secondary 12 V ,1 A
Stepdown Transformer

## Slide 14: CIRCUIT DIAGRAM

## Slide 15: DESCRIPTION
We have developed water level controller circuit using NE555 Timer .The circuit uses transistor, NE555 timer IC, a relay and few passive components.
The circuit is completely automatic which starts the pump motor when the water level in the over head tank goes below a preset level
switches OFF the pump when the water level in the over head tank goes above the full level

## Slide 16: WORKING
In NE555 Timer, acts as monostable multivibrator, the output will increase when the power of the second pin (trigger pin) is not more than 1/3 Vcc.
The output of 555 is connected on a BC547 transistor, activating the transmission coil and water pump will be turned on.

## Slide 17: WORKING
When water level in storage tank is low, output of 555 become high, which turns on relay which in turn , on the pump.
When water level reaches maximum, output of 555 becomes low and turns off the relay and thus pump is turned off.

## Slide 18: SIMULATION

## Slide 19: SIMULATION

## Slide 20: PCB LAYOUT

## Slide 21: HARDWARE RESULT

## Slide 22: COST ESTIMATION
COMPONENT NAME | KEY SPECIFICATION | QUANTITY | UNIT PRICE | TOTAL PRICE
TRANSFORMER | 12 V, 1 A | 1 | 200 | 200
DIODE | 1 A, 1000 V | 5 | 10 | 50
CAPACITOR | 100 nF, 1000 mF, 1mF | 3 | 10 | 30
LM7812 | 2.2 A, 45 V | 1 | 15 | 15
555 TIMER | 200 mA, 16 V | 1 | 20 | 20
TRANSISTOR | 100 mA , 45 V | 2 | 15 | 30
LED | 1.5 V,5 mm ,Red | 1 | 15 | 15

## Slide 23: COST ESTIMATION
COMPONENT NAME | KEY SPECIFICATION | QUANTITY | UNIT PRICE | TOTAL PRICE
RESISTOR | 1K-0.25 W,22K -0.25 W,180K -0.25 W, 1 M-0.25 W | 8 | 5 | 40
RELAY | SPDT , 12 V | 1 | 30 | 30
WATER PUMP | 5 W, 230V | 1 | 30 | 30
SWITCH | SPDT(SLIDE TYPE) | 1 | 30 | 30
MISCELLANEOUS |  | -- |  | 400
 | TOTAL |  |  | 1100

## Slide 24: CURRENT WORK STATUS
The power supply is designed and implemented on PCB.
The control system using IC 555 has been designed and output is obtained.
The overall circuit is designed and implemented on PCB, output is taken.
Simulation is completed on proteus

## Slide 25: WORK PROGRESS

## Slide 26
Chart: 
| SUBMISSION OF PROPOSAL FOR 3 PROJECTS | APPROVAL OF THE PROJECT | REFERANCE & DIAGRAMS SUBMISSION | POWER SUPPLY ON BREAD BOARD | DESIGNED POWER SUPPLY ON PCB | 555 TIMER IN MONOSTABLE MODE | DESIGNED MAIN CIRCUIT ON BREADBOARD | SIMULATED PCB LAYOUT ON EASYEDA | OBTAINED OUTPUT OF MAIN CIRCUIT | SOLDERED MAIN CIRCUIT TO PCB | SIMULATED THE CIRCUIT ON PROTEUS
START DATE | 44685 | 44693 | 44698 | 44705 | 44713 | 44713 | 44726 | 44740 | 44743 | 44747 | 44758
DURATION | 5 | 3 | 5 | 8 | 7 | 14 | 17 | 5 | 7 | 5 | 10
GANTT CHART

## Slide 27: CONCLUSION
In these days, when Earth's reserve of consumable water is decreasing every moment, every drop has its value. Water level controller is a simple yet effective way to prevent wastage of water
Hence we conclude that-
This system is very beneficial in rural as well as urban areas.
It helps in the efficient utilization of available water sources.
If used on a large scale, it can provide a major contribution in the conservation of water for us and the future generations.